## Meta
Design Input and Product Verification & Validation Table
<Product Name>
Approval
With my signature below I confirm that in my roles capacity (see below), I confirm that I created/reviewed/approved the document truthful, accurate and to the best of my knowledge in accordance to our quality management system. I confirm compliance of the document to the particular criteria below.
Creation |  | Review |  | Review/Approval
Creation/Review criteria: • completeness and correct content • formal correctness |  | Review criteria: • completeness and correct content • plausibility • detailed review criteria fulfilled, see annex if applicable |  | Review/approval criteria: • documents objectives fulfilled • creation and review completed • detailed approval criteria fulfilled, see annex if applicable
Name / Role |  | Name / Role |  | Name / Role
Date* / Signature |  | Date* / Signature |  | Date* / Signature
*[JJJJ-MON-TT] e.g. 2015-JAN-01 Please note - electronical document This document is considered a electronical document created as EXCEL file. Only this first table "Meta" containing this meta information is printed and signed, the other tables are available electronically in the according .xlsx file.
Meta Information
Product / Software
Name of Product |  | <Product name>
Version of Product |  | 1.0.0
UDI (if applicable)
Scope of the Document
The Scope of the document is defined by a clear objective and the according addressees.
OBJECTIVE
The document provides a the detailed output of the activities with respect to the following objectives of the activity.
The document provides objective evidence for execution of the following activity. |  | Product design input and requirement specification - Requirements and Specifications defined on all levels Product Verification and Validation Testing - Verification tests of the all requirements and specifications
The document furthermore provides the activities output (or refers to it). |  | The following detailed outputs - Stakeholder Requirement Specification - System Requirement Specification - Component Requirement Specification - Traceability
ADDRESSEES
The detailed output of the activity (together with the actual outputs) is intended as input for further activities or procedures to be done by the following addresses: |  | Requirements and Specification are used to design the product. Test descriptions and test records are used to perform verification. Filled-in records are used to provide evidence for completed verification. All roles involved in future product developments to get input for safe and effective development
The objective evidences are intended for internal and external review, audit, inspection or legal purposes to be done by the following addresses: |  | Internal Reviewer e.g. for document review External Reviewer (e.g. Auditors and Inspector) e.g. for process audits
Version and Description of Change
Version | Date* | Author
V1-0 | see approval date | … | Initial Version
*[JJJJ-MON-TT] e.g. 2015-JAN-01

## DI-PVVT
DESIGN INPUT - REQUIREMENT SPECIFICATION | [16 empty] | REQUIREMENT VERIFICATION
Requirement Attributes - Meta information | [13 empty] | Requirement Specification Definition |  |  | Test Definition / Test Specification |  |  | Test Execution - Test Records
| STK | REQ | STK = Stakeholder |  |  | REQ = Requirement = "The system shall"
| SYS | SPEC | SYS = System, Product |  |  | SYS = Soecification = "The system does"
| CP1 |  | CP1 = Product Component 1 = Main …
| CP2 |  | CP2 = Product Component 2 = …
| CP3 |  | CP3 = Product Component 3 = …
| CP4 |  | CP4 = Product Component 4 = User Documentation
| CP5 |  | CP5 = Product Component 5 = Packaging
ID | Level | Type | REQ Source describe if not standard to the right PM = Product Management RM = Risk Management | PM | RM | Priority rationale (optional) | 1 - "must be" | 2 - "shall be" | 3 - "can be" | Status | Specified | Test Defined | Test completed | Requirement Description (Description from outside view - no solution implied) The system shall... | Requirement Specification (Description from outside view, describing the interface bahavior . with solution in mind) The system does... | Acceptance Criteria for Verification and Validation | Type of testing (Review, Verification Test, Validation Test, …) | Test Description | Test Steps | Executing Tester describe here or tickle defined tester besides | Tester 1 | Tester 2 | Tester 3 | Tester 4 | Tester 5 | Used Test Equipment describe here or tickle defined Equipment to the right | Test System 1 | Test System 2 | Test System 3 | Test System 4 | Test System 5 | Test Object describe here or tickle defined test Object to the right | Test Object 1 | Test Object 2 | Test Object 3 | Test Object 4 | Test Object 5 | Description of Received Test Result Brief description of the result incl. Deviations, if applicable | Passed | Deviations
STK-1.0 | STK | REQ |  | X |  |  | X | [6 empty] | The system shall be effective, addressing Intended Use (incl. Indications for Use) and User Needs. | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether Intended Use and User Needs are defined in TD. | 1) Perform document review
STK-1.1 | STK | SPEC |  | X |  |  | X | [6 empty] | The system shall be effective, addressing Intended Use (incl. Indications for Use) and User Needs. | The system addresses Intended Use and Indications for use, see Product Description: Excerpt: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). Including Verification of product variants | Product Validation - Monitored Use Scenario Test. | Test of Use Scenarios through defined tasks addessing the Intended use and the User Needs, Result Evaluation by tester and monitor rating whether tasks could be completed successful. | 1) Introduction to test method and of product (real customer scenario) 2) Start test by handing over tasks 3) Execution of tasks without guidance or interference, just monitoring. 4) Completion of questionaire after completion by tester and monitor 5) Evaluation
STK-1.2 | STK | SPEC |  | X |  |  | X | [6 empty] | The system shall be effective, addressing Intended Use (incl. Indications for Use) and User Needs. | The system addresses User Needs, see Product Description: Excerpt: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). The clinical Evaluation is confirming the indications for use. | Product Validation - Monitored Use Scenario Test. Document Review - Clinical Evaluation | Test of Use Scenarios through defined tasks addessing the Intended use and the User Needs, Result Evaluation by tester and monitor rating whether tasks could be completed successful. Clinical Evaluation confirming indications for use. | 1) Introduction to test method and of product (real customer scenario) 2) Start test by handing over tasks 3) Execution of tasks without guidance or interference, just monitoring. 4) Completion of questionaire after completion by tester and monitor 5) Evaluation 1) Perform document review
STK-2.0 | STK | REQ |  | X |  |  | X | [6 empty] | The system shall be safe, providing positiv Risk-Benefit-Ratio | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether Risk managemnet File and Clinical Evaluation as completed with positive Risk-Benefit-Conclusion. | 1) Perform document review
STK-2.1 | STK | SPEC |  | X |  |  | X | [6 empty] | The system shall be safe, providing positiv Risk-Benefit-Ratio | The system provides a completed Risk Management File including positive Risk-Benefit-Conclusion. | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether Risk Management File is completed | 1) Perform document review
STK-2.2 | STK | SPEC |  | X |  |  | X | [6 empty] | The system shall be safe, providing positiv Risk-Benefit-Ratio | The system provides a completed Clinical Evaluation including positive Risk-Benefit-Conclusion. | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether clinical evaluation is completed | 1) Perform document review
STK-3.0 | STK | REQ |  | X |  |  | X | [6 empty] | The system shall be usable, for all use scenarios. | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether Use scenarios are defined. | 1) Perform document review
STK-3.1 | STK | SPEC |  | X |  |  | X | [6 empty] | The system shall be usable, for all use scenarios. | The system enables independant completion of tasks of the use scenario below, see Product Description for details: Use Scenario 1 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Product Validation - Monitored Use Scenario Test. | Test of Use Scenarios through defined tasks addessing the Intended use and the User Needs, Result Evaluation by tester and monitor rating whether tasks could be completed successful. | 1) Introduction to test method and of product (real customer scenario) 2) Start test by handing over tasks 3) Execution of tasks without guidance or interference, just monitoring. 4) Completion of questionaire after completion by tester and monitor 5) Evaluation
STK-3.2 | STK | SPEC |  | X |  |  | X | [6 empty] | The system shall be usable, for all use scenarios. | The system enables independant completion of tasks of the use scenario below, see Product Description for details: Use Scenario 2 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Product Validation - Monitored Use Scenario Test. | Test of Use Scenarios through defined tasks addessing the Intended use and the User Needs, Result Evaluation by tester and monitor rating whether tasks could be completed successful. | 1) Introduction to test method and of product (real customer scenario) 2) Start test by handing over tasks 3) Execution of tasks without guidance or interference, just monitoring. 4) Completion of questionaire after completion by tester and monitor 5) Evaluation
STK-3.3 | STK | SPEC |  | X |  |  | X | [6 empty] | The system shall be usable, for all use scenarios. | The system enables independant completion of tasks of the use scenario below, see Product Description for details: Use Scenario 3 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Product Validation - Monitored Use Scenario Test. | Test of Use Scenarios through defined tasks addessing the Intended use and the User Needs, Result Evaluation by tester and monitor rating whether tasks could be completed successful. | 1) Introduction to test method and of product (real customer scenario) 2) Start test by handing over tasks 3) Execution of tasks without guidance or interference, just monitoring. 4) Completion of questionaire after completion by tester and monitor 5) Evaluation
STK-4.0 | STK | REQ |  | X |  |  | X | [6 empty] | The system shall enable the technical principle of function, as defined in product Descrption: <insert technical principle of function> | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether technical principle of function is defined. | 1) Perform document review
STK-4.1 | STK | SPEC |  | X |  |  | X | [6 empty] | The system shall enable the technical principle of function, as defined in product Descrption: <insert technical principle of function> | The system enables the technical principle of function through defined performance characteristics and functions.. | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether performance characteristics and functions are defined and addressing the technical principle of function. | 1) Perform document review
STK-5.0 | STK | REQ |  | X |  |  | X | [6 empty] | The system shall enable the clinical principle of action, as defined in product Descrption: <insert clinical principle of action> | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether clinical principle of action is defined. | 1) Perform document review
STK-5.1 | STK | SPEC |  | X |  |  | X | [6 empty] | The system shall enable the clinical principle of action, as defined in product Descrption: <insert clinical principle of action> | The system enables the technical principle of function through defined performance characteristics and functions.. | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether performance characteristics and functions are defined and addressing the clinical principle of action. | 1) Perform document review
STK-6.0 | STK | REQ |  | X |  |  | X | [6 empty] | The system shall be compliant to EU market regulations. | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether a technical documentation is completed. | 1) Perform document review
STK-6.1 | STK | SPEC |  | X |  |  | X | [6 empty] | The system shall be compliant to EU market regulations. | The system fulfilles die Grundlegenden Anforderungen nach MDD Anhang I. | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether compliance to essential requirements from MDD Annex 1 is available. | 1) Perform document review
SYS-1.0 | SYS | REQ |  | X |  |  | X | [6 empty] | The system shall comply to EU regulations. | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether compliance is proven with objective evidende | 1) Perform document review
SYS-1.1 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall comply to EU regulations. | The system or its realization complies to: ISO 13485 for QMS requirements | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Document Review. | 1) Review, whether product development plan complies to to certified QM-System and includes controlled product release. | 1) Perform document review - Development Plan / Procedure
SYS-1.2 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall comply to EU regulations. | The system or its realization complies to: ISO 14971 for RM requirements | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Document Review. | 1) Review, whether product development plan includes Risk management compliant to ISO 14971 and includes check for RM-File during product release. | 1) Perform document review - Development Plan / Procedure
SYS-1.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall comply to EU regulations. | The system or its realization complies to: IEC 62366 for Usability requirements | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Document Review. | 1) Review, whether product development plan includes Usability Engineering compliant to IEC 62366 and includes check for UE-File during product release. | 1) Perform document review - Development Plan / Procedure
SYS-1.4 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall comply to EU regulations. | The system or its realization complies to: IEC 60601 for electical safety incl. EMC | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Document Review. 2) External testing | 1) Review, whether product development plan includes Verification of electrical Safety compliant to IEC 60601 and includes check for completed verification during product release. 2) Tests and certificate for IEC 60601-1 and IEC 60601-1-2 compliance | 1) Perform document review - Development Plan / Procedure 2) Trigger external testing for compliance to IEC 60601
SYS-1.5 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall comply to EU regulations. | The system or its realization complies to: IEC 62304 for Software development process. | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Document Review. | 1) Review, whether product development plan includes Software development compliant to IEC 62304 and includes check for SW-File during product release. | 1) Perform document review - Development Plan / Procedure
SYS-2.0 | SYS | REQ |  | X |  |  | X | [6 empty] | The Product shall consist of Product Components as defined in Product Description. | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether product components are defined | 1) Perform document review
SYS-2.1 | SYS | SPEC |  | X |  |  | X | [6 empty] | The Product shall consist of Product Components as defined in Product Description. | The product includes: Product Component 1 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether component is described. | 1) Perform document review
SYS-2.2 | SYS | SPEC |  | X |  |  | X | [6 empty] | The Product shall consist of Product Components as defined in Product Description. | The product includes: Product Component 2 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether component is described. | 1) Perform document review
SYS-2.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The Product shall consist of Product Components as defined in Product Description. | The product includes: Product Component 3 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether component is described. | 1) Perform document review
SYS-2.4 | SYS | SPEC |  | X |  |  | X | [6 empty] | The Product shall consist of Product Components as defined in Product Description. | The product includes: Product Component 4 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether component is described. | 1) Perform document review
SYS-2.5 | SYS | SPEC |  | X |  |  | X | [6 empty] | The Product shall consist of Product Components as defined in Product Description. | The product includes: Product Component 5 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether component is described. | 1) Perform document review
SYS-2.6 | SYS | SPEC |  | X |  |  | X | [6 empty] | The Product shall consist of Product Components as defined in Product Description. | Das Produkt besteht aus: Instruction for use | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether component is described. | 1) Perform document review
SYS-2.7 | SYS | SPEC |  | X |  |  | X | [6 empty] | The Product shall consist of Product Components as defined in Product Description. | Das Produkt besteht aus: Packaging | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether component is described. | 1) Perform document review
SYS-3.0 | SYS | REQ |  | X |  |  | X | [6 empty] | The system shall fulfill essential performance characteristics (ouput at a interface) | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether essential performance characteristics are defined. | 1) Perform document review
SYS-3.1 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall fulfill essential performance characteristics (ouput at a interface) | The system fulfilles essential performance characteristics: EPC 1 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Document Review. 2) Performance test | 1) Review, whether EPC is defined. 2) Test, whether EPC is fulfilled | 1) Perform document review - Datenblätter 2) Perform Performance Test
SYS-3.2 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall fulfill essential performance characteristics (ouput at a interface) | The system fulfilles essential performance characteristics: EPC 2 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Document Review. 2) Performance test | 1) Review, whether EPC is defined. 2) Test, whether EPC is fulfilled | 1) Perform document review - Datenblätter 2) Perform Performance Test
SYS-3.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall fulfill essential performance characteristics (ouput at a interface) | The system fulfilles essential performance characteristics: EPC 3 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Document Review. 2) Performance test | 1) Review, whether EPC is defined. 2) Test, whether EPC is fulfilled | 1) Perform document review - Datenblätter 2) Perform Performance Test
SYS-3.4 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall fulfill essential performance characteristics (ouput at a interface) | The system fulfilles essential performance characteristics: EPC 4 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Document Review. 2) Performance test | 1) Review, whether EPC is defined. 2) Test, whether EPC is fulfilled | 1) Perform document review - Datenblätter 2) Perform Performance Test
SYS-4.0 | SYS | REQ |  | X |  |  | X | [6 empty] | The system shall fulfill performance characteristics. (ouput at a interface) | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether performance characteristics are defined. | 1) Perform document review
SYS-4.1 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall fulfill performance characteristics. (ouput at a interface) | The system fulfilles performance characteristics: PC 1 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Document Review. 2) Performance test | 1) Review, whether EPC is defined. 2) Test, whether EPC is fulfilled | 1) Perform document review - Datenblätter 2) Perform Performance Test
SYS-4.2 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall fulfill performance characteristics. (ouput at a interface) | The system fulfilles performance characteristics: PC 2 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Document Review. 2) Performance test | 1) Review, whether EPC is defined. 2) Test, whether EPC is fulfilled | 1) Perform document review - Datenblätter 2) Perform Performance Test
SYS-4.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall fulfill performance characteristics. (ouput at a interface) | The system fulfilles performance characteristics: PC 3 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Document Review. 2) Performance test | 1) Review, whether EPC is defined. 2) Test, whether EPC is fulfilled | 1) Perform document review - Datenblätter 2) Perform Performance Test
SYS-4.4 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall fulfill performance characteristics. (ouput at a interface) | The system fulfilles performance characteristics: PC 4 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Document Review. 2) Performance test | 1) Review, whether EPC is defined. 2) Test, whether EPC is fulfilled | 1) Perform document review - Datenblätter 2) Perform Performance Test
SYS-5.0 | SYS | REQ |  | X |  |  | X | [6 empty] | The system shall consist of technical components (=System Architecture): | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether there is a system architecture defined. | 1) Perform document review
SYS-3.1 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall consist of technical components (=System Architecture): | The system includes component: Component 1 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether Component is defined. | 1) Perform document review
SYS-3.2 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall consist of technical components (=System Architecture): | The system includes component: Component 2 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether Component is defined. | 1) Perform document review
SYS-3.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall consist of technical components (=System Architecture): | The system includes component: Component 3 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether Component is defined. | 1) Perform document review
SYS-3.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall consist of technical components (=System Architecture): | The system includes component: Component 4 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether Component is defined. | 1) Perform document review
SYS-3.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall consist of technical components (=System Architecture): | The system includes component: Component 5 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Review, whether Component is defined. | 1) Perform document review
SYS-6.0 | SYS | REQ |  | X |  |  | X | [6 empty] | The system shall provide a defined set of functions/features: | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Test, whether there is a set of functions defined. | 1) Perform document review
SYS-6.1 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall provide a defined set of functions/features as defined in product description: | Funkction/Feature 1: ... | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Test, whether Function/Feature is defined. | 1) Perform document review
SYS-6.2 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall provide a defined set of functions/features as defined in product description: | Funkction/Feature 2: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Test, whether Function/Feature is defined. | 1) Perform document review
SYS-6.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall provide a defined set of functions/features as defined in product description: | Funkction/Feature 3: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Test, whether Function/Feature is defined. | 1) Perform document review
SYS-6.4 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall provide a defined set of functions/features as defined in product description: | Funkction/Feature 4: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Test, whether Function/Feature is defined. | 1) Perform document review
SYS-6.5 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall provide a defined set of functions/features as defined in product description: | Funkction/Feature 5: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Test, whether Function/Feature is defined. | 1) Perform document review
SYS-6.6 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system shall provide a defined set of functions/features as defined in product description: | Funkction/Feature 6: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review. | Test, whether Function/Feature is defined. | 1) Perform document review
SYS-6.1.0 | SYS | REQ |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 1: | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Verification Test | Test, whether the system provides the defined Function/Feature. | 1) Perform document review
SYS-6.1.1 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 1: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.1.2 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 1: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.1.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 1: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.1.4 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 1: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.1.5 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 1: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.1.6 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 1: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.1.7 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 1: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.2.0 | SYS | REQ |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 2: | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Verification Test | Test, whether the system provides the defined Function/Feature. | 1) Perform document review
SYS-6.2.1 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 2: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.2.2 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 2: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.2.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 2: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.2.4 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 2: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.2.5 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 2: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.2.6 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 2: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.2.7 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 2: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.3.0 | SYS | REQ |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 3: | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Verification Test | Test, whether the system provides the defined Function/Feature. | 1) Perform document review
SYS-6.3.1 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 3: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.3.2 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 3: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.3.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 3: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.3.4 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 3: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.3.5 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 3: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.3.6 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 3: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.3.7 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 3: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.4.0 | SYS | REQ |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 4: | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Verification Test | Test, whether the system provides the defined Function/Feature. | 1) Perform document review
SYS-6.4.1 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 4: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.4.2 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 4: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.4.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 4: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.4.4 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 4: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.4.5 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 4: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.4.6 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 4: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.4.7 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 4: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.5.0 | SYS | REQ |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 5: | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Verification Test | Test, whether the system provides the defined Function/Feature. | 1) Perform document review
SYS-6.5.1 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 5: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.5.2 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 5: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.5.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 5: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.5.4 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 5: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.5.5 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 5: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.5.6 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 5: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.5.7 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 5: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.6.0 | SYS | REQ |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 6: | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Verification Test | Test, whether the system provides the defined Function/Feature. | 1) Perform document review
SYS-6.6.1 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 6: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.6.2 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 6: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.6.3 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 6: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.6.4 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 6: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.6.5 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 6: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.6.6 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 6: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
SYS-6.6.7 | SYS | SPEC |  | X |  |  | X | [6 empty] | The system provides defined functionality through: Function/Feature 6: | The function/Feature enables … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Functional Test - … | 1) Step 1 2) Step 2 3) Step 3
CP1-1.0 | CP1 | REQ |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 1 | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether performance characteristics are defined. | 1) Perform document review
CP1-1.1 | CP1 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 1 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP1-1.2 | CP1 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 1 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP1-1.3 | CP1 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 1 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP1-1.4 | CP1 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 1 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP1-1.5 | CP1 | SPEC |  | X | [9 empty] | The component shall fulfill set of function/features. Component 1 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP1-2.0 | CP1 | REQ |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 1 | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether performance characteristics are defined. | 1) Perform document review
CP1-2.1 | CP1 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 1 | The component fulfilles performance characteristics: PC 1 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Performance Test - … | 1) Step 1 2) Step 2 3) Step 3
CP1-2.2 | CP1 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 1 | The component fulfilles performance characteristics: PC 2 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Performance Test - … | 1) Step 1 2) Step 2 3) Step 3
CP1-2.3 | CP1 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 1 | The component fulfilles performance characteristics: PC 3 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Performance Test - … | 1) Step 1 2) Step 2 3) Step 3
CP1-2.4 | CP1 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 1 | The component fulfilles performance characteristics: PC 4 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Performance Test - … | 1) Step 1 2) Step 2 3) Step 3
CP2-1.0 | CP2 | REQ |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 2 | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether performance characteristics are defined. | 1) Perform document review
CP2-1.1 | CP2 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 2 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP2-1.2 | CP2 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 2 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP2-1.3 | CP2 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 2 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP2-1.4 | CP2 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 2 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP2-1.5 | CP2 | SPEC |  | X | [9 empty] | The component shall fulfill set of function/features. Component 2 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP2-2.0 | CP2 | REQ |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 2 | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether performance characteristics are defined. | 1) Perform document review
CP2-2.1 | CP2 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 2 | The component fulfilles performance characteristics: PC 1 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Performance Test - … | 1) Step 1 2) Step 2 3) Step 3
CP2-2.2 | CP2 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 2 | The component fulfilles performance characteristics: PC 2 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Performance Test - … | 1) Step 1 2) Step 2 3) Step 3
CP2-2.3 | CP2 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 2 | The component fulfilles performance characteristics: PC 3 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Performance Test - … | 1) Step 1 2) Step 2 3) Step 3
CP2-2.4 | CP2 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 2 | The component fulfilles performance characteristics: PC 4 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Performance Test - … | 1) Step 1 2) Step 2 3) Step 3
CP3-1.0 | CP3 | REQ |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 3 | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether performance characteristics are defined. | 1) Perform document review
CP3-1.1 | CP3 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 3 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP3-1.2 | CP3 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 3 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP3-1.3 | CP3 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 3 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP3-1.4 | CP3 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Component 3 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP3-1.5 | CP3 | SPEC |  | X | [9 empty] | The component shall fulfill set of function/features. Component 3 | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP3-2.0 | CP3 | REQ |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 3 | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether performance characteristics are defined. | 1) Perform document review
CP3-2.1 | CP3 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 3 | The component fulfilles performance characteristics: PC 1 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Performance Test - … | 1) Step 1 2) Step 2 3) Step 3
CP3-2.2 | CP3 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 3 | The component fulfilles performance characteristics: PC 2 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Performance Test - … | 1) Step 1 2) Step 2 3) Step 3
CP3-2.3 | CP3 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 3 | The component fulfilles performance characteristics: PC 3 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Performance Test - … | 1) Step 1 2) Step 2 3) Step 3
CP3-2.4 | CP3 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. (output at a interface) Component 3 | The component fulfilles performance characteristics: PC 4 | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Performance Test - … | 1) Step 1 2) Step 2 3) Step 3
CP1-1.0 | CP1 | REQ |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Packaging | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Review, whether performance characteristics are defined. | 1) Perform document review
CP1-1.1 | CP1 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Packaging | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP1-1.2 | CP1 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill set of function/features. Packaging | The component fulfilles function/feature below:: … | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | 1) Functional Test 2) additionally document review | 1) Review, whether function/feature is defined. 2) Test, whetherfunction/featre is fulfilled | 1) Perform functional test 2) Perform document review
CP4-1.0 | CP4 | REQ |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. Packaging | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Prüfen, ob alle Leistungsmerkmale positiv getestet sind. | 1) Perform document review
CP4-1.1 | CP4 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. Packaging | The packaging fulfilles performance characteristis:: Integrity of the product during transport and storage | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Leistungstest - … | 1) Inbetriebnahme 2) Messung 3) Auswertung
CP4-2.0 | CP4 | REQ |  | X |  |  | X | [6 empty] | The packaging shall provide compliant labeling | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Test, whether eine Kennzeichnungsdefinition vorliegt | 1) Perform document review
CP4-2.1 | CP4 | SPEC |  | X |  |  | X | [6 empty] | The packaging shall provide compliant labeling | Packaging includes label for: <label> | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review / Verpackungsreview | Test, whether die Kennzeichnung spezifiziert und korrekt umgesetzt ist. | 1) Perform document review 2) Sichtprüfung auf Verpackung
CP4-2.2 | CP4 | SPEC |  | X |  |  | X | [6 empty] | The packaging shall provide compliant labeling | Packaging includes label for: <label> | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review / Verpackungsreview | Test, whether die Kennzeichnung spezifiziert und korrekt umgesetzt ist. | 1) Perform document review 2) Sichtprüfung auf Verpackung
CP4-2.3 | CP4 | SPEC |  | X |  |  | X | [6 empty] | The packaging shall provide compliant labeling | Packaging includes label for: <label> | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review / Verpackungsreview | Test, whether die Kennzeichnung spezifiziert und korrekt umgesetzt ist. | 1) Perform document review 2) Sichtprüfung auf Verpackung
CP5-1.0 | CP5 | REQ |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. User Documentation | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Prüfen, ob alle Leistungsmerkmale positiv getestet sind. | 1) Perform document review
CP5-1.1 | CP5 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. User Documentation | The Instruction includes: Product Information The user receives instructions for use and intended use. | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Leistungstest - … | 1) Inbetriebnahme 2) Messung 3) Auswertung
CP5-1.2 | CP5 | SPEC |  | X |  |  | X | [6 empty] | The component shall fulfill performance characteristics. User Documentation | The Instruction includes: Product Information The user receives information on relevant residual risks. | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Verification Test | Leistungstest - … | 1) Inbetriebnahme 2) Messung 3) Auswertung
CP5-2.1.0 | CP5 | REQ |  | X |  |  | X | [6 empty] | The user documentation shall contain defined informations: | see all specifications below | The Requirement (as described to the left) is addressed effectively by the Specifications, checked by document review (as defined to the right). | Document Review. | Prüfen, ob alle Inhaltsdefinition vorliegt. | 1) Perform document review
CP5-2.1.1 | CP5 | SPEC |  | X |  |  | X | [6 empty] | The user documentation shall contain defined informations: | The Instruction includes: Product Information | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review / Verpackungsreview | Test, whether die Beipackinformation vollständigd korrekt umgesetzt ist. | 1) Perform document review
CP5-2.1.2 | CP5 | SPEC |  | X |  |  | X | [6 empty] | The user documentation shall contain defined informations: | The Instruction includes: Warnings and Advice | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review / Verpackungsreview | Test, whether die Beipackinformation vollständigd korrekt umgesetzt ist. | 1) Perform document review
CP5-2.1.2 | CP5 | SPEC |  | X |  |  | X | [6 empty] | The user documentation shall contain defined informations: | The Instruction includes: Regulatory Content | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review / Verpackungsreview | Test, whether die Beipackinformation vollständigd korrekt umgesetzt ist. | 1) Perform document review
CP5-2.1.3 | CP5 | SPEC |  | X |  |  | X | [6 empty] | The user documentation shall contain defined informations: | The Instruction includes: Manufacturer information | The Specification (as described to the left) is implemented effectively, checked by verification tests (as defined to the right). | Document Review / Verpackungsreview | Test, whether die Beipackinformation vollständigd korrekt umgesetzt ist. | 1) Perform document review

## STK Val. Report
Test Report for Product Validation Testing
Planning of Product Validation Testing
Product validation testing is understood as testing the final system, first series production (or equivalent) against the stakeholder requirements, especially intended use and user needs. Also usability validation is planned to validate the product design as follows.
Planning Details | The product validation testing shall be done in an incorporated final test activity together with final product verification. The product validation requires a successful product pre-testing for basic safety and essential performance.
Test Objective | The objective is to validate all stakeholder requirements and especially the intended use including usability.
Test Method | Functional stakeholder requirements are validated in a “usability validation type” of test setup similar to the clinical environment. - Examination room, providing at least a table and a chair for the patient. - Workstation with installed final product software - All required persons available - Patient (any human person) - Physician (real user) and/or nurse (for disinfection) - The system is ready for use according to the intended use and use context. 5 real users (aim is 3) and according test patient. The real users get an introduction to the system similar to the real product introduction. The users are afterwards asked to complete test cases which are aligned to the stakeholder requirements, user need and intended use. The real users are monitored without interception. The test results are documented and rated against the acceptance criteria. The non-functional requirements are tested by appropriate reviews of documents as appropriate. No particular test setup required. Test details and potential required addition tests, are define and referred to in the test specification.
Tooling and Test Object Requirements | Series product (or equivalent), setup similar to use environment and use conditions. No particular test equipment
Documentation | The test cases and the test execution is documented on particular test protocols, which are summarized in PVVS, Product Verification Summary.
Overall Acceptance Criteria for Product Validation Testing | The product validation testing is considered successful if all validation tests are test passed or deviations are rated acceptable by detailed justification ensuring safe, effective and usable use of the product.
Specification of Product Validation Testing
Product validation testing is understood as testing the final system, first series production (or equivalent) against the stakeholder requirements, especially intended use and user needs. Also usability validation is planned to validate the product design as follows.
Details and refinements to the planning | System validation tests wll be performed on real patients in ... under supervision of trained personnel and under observation. The test procedure including test specification and step by step description is defined in PVV_Test_Procedure_..._Final.pdf. This document also contains the master test protocol and questionnaire to be used for each test run. The questionnaire consists of 5 sections as described here: .... The feedback from all participants in the process is collected with these questionnaire, which are addressing all stakeholder requirements. A User Manual and short description were given to the personnel as a guide and system introduction. The acceptance criteria for the collected questionnaires is defined in TP&Q-PVVT_Summary_v1-0, as follows: All tests which have all positive answers (including minor lacks) is considered successful.
Deviations from Planning | No deviations. Latest version of Product and User Manual shall be used.
Test Method | Functional stakeholder requirements are validated in a “usability validation type” of test setup similar to the clinical environment. - Examination room, providing at least a table and a chair for the patient. - Workstation with installed final product software - All required persons available - Patient (any human person) - Physician (real user) and/or nurse (for disinfection) - The system is ready for use according to the intended use and use context. 5 real users (aim is 3) and according test patient. The real users get an introduction to the system similar to the real product introduction. The users are afterwards asked to complete test cases which are aligned to the stakeholder requirements, user need and intended use. The real users are monitored without interception. The test results are documented and rated against the acceptance criteria. The non-functional requirements are tested by appropriate reviews of documents as appropriate. No particular test setup required. Test details and potential required addition tests, are define and referred to in the test specification.
Tooling and Test Object Requirements | Series product (or equivalent), setup similar to use environment and use conditions. No particular test equipment
Documentation | The test cases and the test execution is documented on particular test protocols, which are summarized in PVVS, Product Verification Summary.
Overall Acceptance Criteria for Product Validation Testing | The product validation testing is considered successful if all validation tests are test passed or deviations are rated acceptable by detailed justification ensuring safe, effective and usable use of the product.
Record of Product Validation Testing
for detailed records see PVVT, Table "PVVT"
Test Environment
Date of Testing
Location of Testing
Envrionmental Conditions
Test Objects | Name/ID | Description, Konfiguration (Version, Serialnummer, …)
Test Object 1
Test Object 2
Test Object 3
Test Object 4
Test Object 5
Tester | Name | Qualification
Tester 1
Tester 2
Tester 3
Tester 4
Tester 5
Tester Equipment | Name/ID | Description, Konfiguration
Test System 1
Test System 2
Test System 3
Test System 4
Test System 5
Results of Product Validation Testing
Result Summary
Result Summary | All 9 product validation tests have been completed successfully. All 9 tests resulted with test passed, without deviations.
Deviation Discussion
Test ID / Deviations | Test Result Description / Deviation |  | Discussion / Conditions
Acceptance Conclusion | All … deviations have been investigated and discussed. All ... tests could be accepted with deviations and following conditions: - ID1
Overall Acceptance and Executive Summary
Acceptance | The acceptance criteria for product validation testing is therefore met.
Executive Summary / Conclusion | Product stakeholder requirements especially intended use and user needs and usability are successfully validated.
Approval
With my signature below I confirm that, 1. the test planning and specifications above have been defined and agreed prior testing 2. I performed or supervised the defined tests and completed the records above truthful, accurate and to the best of my knowledge in accordance to the planning.
Signature
Name/Role and Date
Signature

## SYS Veri. Report
Test Report for Product (System) Verification Testing
Planning of Product (System) Verification Testing
Product verification testing is understood as verifying the final system, first series production (or equivalent) against the system requirements.
Planning Details | The product verification testing shall be done in an incorporated final test activity.
Test Objective | The objective is to verify all system requirements and specifications.
Test Method | The system shall be tested against the requirements. All requirements shall be verified and potential additional functional tests shall be performed. The test results are verified against the acceptance criteria. Test shall be performed by a qualified person, knowing the product requirements in an environment appropriate for the functional test but not being the developer himself. - Testing room, providing defined use environment conditions. - Workstation with installed final product software - All required test equipment’s or persons available - Patient or Artificial Head Dummy - User (product expert) - The system is ready for use according to the intended use. Successful product verification is a prerequisite to the product validation tests, which are following the product verification. The non-functional system requirements are tested by appropriate reviews of documents as appropriate. No particular test setup required. Test details and potential required addition tests, are define and referred to in the test specification.
Tooling and Test Object Requirements | Series product (or equivalent), setup similar to use environment and use conditions. No particular test equipment and continuous integration system.
Documentation | The test results are documented in this test report (or a copy of the test protocol in table "PVVT"). The results are summarized in PVVS, product Verification and Validation Summary.
Overall Acceptance Criteria for Product Validation Testing | The product verification testing is considered successful if all verification tests are test passed or deviations are rated acceptable by detailed justification ensuring safe, effective and usable use of the product.
Specification of Product (System) Verification Testing
Product verification testing is understood as verifying the final system, first series production (or equivalent) against the system requirements.
Planning Details | The product verification testing shall be done in an incorporated final test activity.
Test Objective | The objective is to verify all system requirements and specifications.
Test Method | The system shall be tested against the requirements. All requirements shall be verified and potential additional functional tests shall be performed. The test results are verified against the acceptance criteria. Test shall be performed by a qualified person, knowing the product requirements in an environment appropriate for the functional test but not being the developer himself. - Testing room, providing defined use environment conditions. - Workstation with installed final product software - All required test equipment’s or persons available - Patient or Artificial Head Dummy - User (product expert) - The system is ready for use according to the intended use. Successful product verification is a prerequisite to the product validation tests, which are following the product verification. The non-functional system requirements are tested by appropriate reviews of documents as appropriate. No particular test setup required. Test details and potential required addition tests, are define and referred to in the test specification.
Tooling and Test Object Requirements | Series product (or equivalent), setup similar to use environment and use conditions. No particular test equipment and continuous integration system.
Documentation | The test results are documented in this test report (or a copy of the test protocol in table "PVVT"). The results are summarized in PVVS, product Verification and Validation Summary.
Overall Acceptance Criteria for Product Validation Testing | The product verification testing is considered successful if all verification tests are test passed or deviations are rated acceptable by detailed justification ensuring safe, effective and usable use of the product.
Record of Product (System) Verification Testing
for detailed records see PVVT, Table "PVVT"
Test Environment
Date of Testing
Location of Testing
Envrionmental Conditions
Test Objects | Name/ID | Description, Konfiguration (Version, Serialnummer, …)
Test Object 1
Test Object 2
Test Object 3
Test Object 4
Test Object 5
Tester | Name | Qualification
Tester 1
Tester 2
Tester 3
Tester 4
Tester 5
Tester Equipment | Name/ID | Description, Konfiguration
Test System 1
Test System 2
Test System 3
Test System 4
Test System 5
Results of Product (System) Verification Testing
Result Summary
Result Summary | All … product verification tests have been completed successfully. All ... tests resulted with test passed, without deviations. 1 tests have been completed with deviations as discussed below. Additional information is provided by ...
Deviation Discussion
Test ID / Deviations | Test Result Description / Deviation |  | Discussion / Conditions
Acceptance Conclusion | All … deviations have been investigated and discussed. All ... tests could be accepted with deviations and following conditions: - ID1
Overall Acceptance and Executive Summary
Acceptance | The acceptance criteria for product (system) verification testing is therefore met.
Executive Summary / Conclusion | Product system requirements are successfully verified.
Approval
With my signature below I confirm that, 1. the test planning and specifications above have been defined and agreed prior testing 2. I performed or supervised the defined tests and completed the records above truthful, accurate and to the best of my knowledge in accordance to the planning.
Signature
Name/Role and Date
Signature

## CP1 Veri. Report
Test Report for Component 1 Verification Testing
Planning of Component Verification Testing
Component verification testing is understood as verifying the according component, first series production (or equivalent) against the component requirements. This planning applies to all components, such as hardware, software or packaging. Tests specification are listed separately below.
Planning Details | The component verification testing shall be done in an incorporated final test activity.
Test Objective | The objective is to verify all component requirements and specifications, such as hardware, software and packaging requirement, as well as potential detailed design specifications.
Test Method | The components shall be tested against their component requirements and specifications. All requirements and specifications shall be verified. The test results are evaluated against the acceptance criteria. Test shall be performed by a qualified person, knowing the components requirements, in an environment appropriate for the functional test, but not being the developer himself. - Testing room, providing environment similar conditions to the use environment. - Workstation with installed final product software - All required test equipment’s or persons available - Patient or Artificial Head Dummy - User (component expert) Any potential non-functional component requirements are tested by appropriate reviews of documents as appropriate. No particular test setup required. Test details and potential required addition tests, are define and referred to in the test specification for each component.
Tooling and Test Object Requirements | Series product (or equivalent), setup similar to use environment and use conditions. No particular test equipment.
Documentation | The test results are documented in this test report (or a copy of the test protocol in table "PVVT"). The results are summarized in PVVS, product Verification and Validation Summary.
Overall Acceptance Criteria for Product Validation Testing | The component verification testing is considered successful if all verification tests are test passed or deviations are rated acceptable by detailed justification ensuring safe, effective and usable use of the product.
Specification of Component 1 Verification Testing
Component verification testing is understood as verifying the according component, first series production (or equivalent) against the component requirements. This planning applies to all components, such as hardware, software or packaging. Tests specification are listed separately below.
Planning Details | The component verification testing shall be done in an incorporated final test activity.
Test Objective | The objective is to verify all component requirements and specifications, such as hardware, software and packaging requirement, as well as potential detailed design specifications.
Test Method | The components shall be tested against their component requirements and specifications. All requirements and specifications shall be verified. The test results are evaluated against the acceptance criteria. Test shall be performed by a qualified person, knowing the components requirements, in an environment appropriate for the functional test, but not being the developer himself. - Testing room, providing environment similar conditions to the use environment. - Workstation with installed final product software - All required test equipment’s or persons available - Patient or Artificial Head Dummy - User (component expert) Any potential non-functional component requirements are tested by appropriate reviews of documents as appropriate. No particular test setup required. Test details and potential required addition tests, are define and referred to in the test specification for each component.
Tooling and Test Object Requirements | Series product (or equivalent), setup similar to use environment and use conditions. No particular test equipment.
Documentation | The test results are documented in this test report (or a copy of the test protocol in table "PVVT"). The results are summarized in PVVS, product Verification and Validation Summary.
Overall Acceptance Criteria for Product Validation Testing | The component verification testing is considered successful if all verification tests are test passed or deviations are rated acceptable by detailed justification ensuring safe, effective and usable use of the product.
Record of Component 1 Verification Testing
for detailed records see PVVT, Table "PVVT"
Test Environment
Date of Testing
Location of Testing
Envrionmental Conditions
Test Objects | Name/ID | Description, Konfiguration (Version, Serialnummer, …)
Test Object 1
Test Object 2
Test Object 3
Test Object 4
Test Object 5
Tester | Name | Qualification
Tester 1
Tester 2
Tester 3
Tester 4
Tester 5
Tester Equipment | Name/ID | Description, Konfiguration
Test System 1
Test System 2
Test System 3
Test System 4
Test System 5
Results of Product (System) Verification Testing
Result Summary
Result Summary | All … component verification tests have been completed successfully. All ... tests resulted with test passed, without deviations. 1 tests have been completed with deviations as discussed below. Additional information is provided by ...
Deviation Discussion
Test ID / Deviations | Test Result Description / Deviation |  | Discussion / Conditions
Acceptance Conclusion | All … deviations have been investigated and discussed. All ... tests could be accepted with deviations and following conditions: - ID1
Overall Acceptance and Executive Summary
Acceptance | The acceptance criteria for component verification testing is therefore met.
Executive Summary / Conclusion | Component requirements are successfully verified.
Approval
With my signature below I confirm that, 1. the test planning and specifications above have been defined and agreed prior testing 2. I performed or supervised the defined tests and completed the records above truthful, accurate and to the best of my knowledge in accordance to the planning.
Signature
Name/Role and Date
Signature

## Traceability Matrix
Traceability Matrix |  |  | DI-1 | DI-2 | DI-3 | DI-4
The REQs/SPECs to the right >>> are parents to the RECs/SPECs below vvv |  |  | STK | STK | STK | STK
|  |  | REQ | SPEC | SPEC | SPEC
DI-1 | STK | REQ
DI-2 | STK | SPEC | X
DI-3 | STK | SPEC | X
DI-4 | STK | SPEC | X